ТЕХНИЧКА СПЕЦИФИКАЦИЈА

ПАРТИЈА 1 - надоградња постојећег DELL EMC Vxrail система

| РБ | Производ | Јед. мере | Количина |
| --- | --- | --- | --- |
| 1. | Надоградња постојећег DELL EMC Vxrail система Потребно је понудити проширење Dell EMC VxRail система са додатним дисковима и лиценцама за постојећа три DellEMC Е560 нода. Сваки од три нода треба проширити са додатна по три Dell EMC VxRail диска од по 1.2 ТБ уз пратеће лиценце. Понуђач је дужан да изврши инсталацију свих понуђених добара на локацији корисника и интеграцију у постојеће ИТ окружење корисника. | ком | 1 |
| 2. | Продужење произвођачке подршке за период до 31.1.2025 за постојеће системе | кпл | 1 |

- Списак постојећих система приказан у табели:

| Model | Opis | Količina |
| --- | --- | --- |
| DD33-16-2P2N | DD3300 16TB 2PSU 10GBE 10GBF | 1 |
| 456-113-358 | DD3300 SW LICENSE 1TB=CC | 16 |
| 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 |
| SYSE5602SVENTH | VXRAIL 14G E560 1U1N 2S NVME ENT H | 1 |
| 2S8HPFANE560165GR | VXRAIL-500 2S 8 HIGH PERF FAN 165W/GRT | 1 |
| 2SE560HSKDM165OL | VXRAIL-500 2S E560 165WL HTK DIMM BLNK | 1 |
| CACHESSD400GB | VXR 400GB CACHE SSD 2.5IN | 2 |
| CAPACITYHDD1.2TBH | VXR 1.2TB CAPACITY 10K RPM 2.5IN HDD H | 5 |
| INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 |
| MEMLDIMM32GBH | VXRAIL-500 MEMORY 32GB RDIMM H | 12 |
| NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 |
| NICX550LP2X10GBRJ | VXRAIL-500 X550 LP PCIE 2X10GBE RJ45 H | 1 |
| PROGD61301SH | VXR INTEL CPU GD 6130 2.1G 16C 32T 1S H | 1 |
| PROGD61302SH | VXR INTEL CPU GD 6130 2.1G 16C 32T 2S H | 1 |
| PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 |
| RDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ RDIMMS | 1 |
| RISER640CNFG2DUAL | VXRAIL-500 RISER R640 CONFIG2 LP | 1 |
| RRAILKIT1U1NCMAH | VXRAIL-500 A7 READYRAILS II W/CMA 1U1N | 1 |
| TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 |
| 456-113-151 | HCIA NP VSPH STD 1CPU W/3YR MAINT=IG | 1 |
| 456-113-151 | HCIA NP VSPH STD 1CPU W/3YR MAINT=IG | 1 |
| VXROS1.2TBH | VXR HCI SYSTEM SOFTWARE(CAP 1.2 HDD)= CF | 5 |
| VXROSGDPROCSH | VXRAIL HCI SYSTEM SOFTWARE(G H)=IG | 2 |
| SYSE5602SVENTH | VXRAIL 14G E560 1U1N 2S NVME ENT H | 1 |
| 2S8HPFANE560165GR | VXRAIL-500 2S 8 HIGH PERF FAN 165W/GRT | 1 |
| 2SE560HSKDM165OL | VXRAIL-500 2S E560 165WL HTK DIMM BLNK | 1 |
| CACHESSD400GB | VXR 400GB CACHE SSD 2.5IN | 2 |
| CAPACITYHDD1.2TBH | VXR 1.2TB CAPACITY 10K RPM 2.5IN HDD H | 5 |
| INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 |
| MEMLDIMM32GBH | VXRAIL-500 MEMORY 32GB RDIMM H | 12 |
| NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 |
| NICX550LP2X10GBRJ | VXRAIL-500 X550 LP PCIE 2X10GBE RJ45 H | 1 |
| PROGD61301SH | VXR INTEL CPU GD 6130 2.1G 16C 32T 1S H | 1 |
| PROGD61302SH | VXR INTEL CPU GD 6130 2.1G 16C 32T 2S H | 1 |
| PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 |
| RDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ RDIMMS | 1 |
| RISER640CNFG2DUAL | VXRAIL-500 RISER R640 CONFIG2 LP | 1 |
| RRAILKIT1U1NCMAH | VXRAIL-500 A7 READYRAILS II W/CMA 1U1N | 1 |
| TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 |
| 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 |
| VXROS1.2TBH | VXR HCI SYSTEM SOFTWARE(CAP 1.2 HDD)= CF | 5 |
| VXROSGDPROCSH | VXRAIL HCI SYSTEM SOFTWARE(G H)=IG | 2 |
| 456-113-151 | HCIA NP VSPH STD 1CPU W/3YR MAINT=IG | 1 |
| 456-113-151 | HCIA NP VSPH STD 1CPU W/3YR MAINT=IG | 1 |
| 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 |
| VXROS1.2TBH | VXR HCI SYSTEM SOFTWARE(CAP 1.2 HDD)= CF | 5 |
| VXROSGDPROCSH | VXRAIL HCI SYSTEM SOFTWARE(G H)=IG | 2 |
| 456-113-151 | HCIA NP VSPH STD 1CPU W/3YR MAINT=IG | 1 |
| 456-113-151 | HCIA NP VSPH STD 1CPU W/3YR MAINT=IG | 1 |
| SYSE5602SVENTH | VXRAIL 14G E560 1U1N 2S NVME ENT H | 1 |
| 2S8HPFANE560165GR | VXRAIL-500 2S 8 HIGH PERF FAN 165W/GRT | 1 |
| 2SE560HSKDM165OL | VXRAIL-500 2S E560 165WL HTK DIMM BLNK | 1 |
| CACHESSD400GB | VXR 400GB CACHE SSD 2.5IN | 2 |
| CAPACITYHDD1.2TBH | VXR 1.2TB CAPACITY 10K RPM 2.5IN HDD H | 5 |
| INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 |
| MEMLDIMM32GBH | VXRAIL-500 MEMORY 32GB RDIMM H | 12 |
| NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 |
| NICX550LP2X10GBRJ | VXRAIL-500 X550 LP PCIE 2X10GBE RJ45 H | 1 |
| PROGD61301SH | VXR INTEL CPU GD 6130 2.1G 16C 32T 1S H | 1 |
| PROGD61302SH | VXR INTEL CPU GD 6130 2.1G 16C 32T 2S H | 1 |
| PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 |
| RDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ RDIMMS | 1 |
| RISER640CNFG2DUAL | VXRAIL-500 RISER R640 CONFIG2 LP | 1 |
| RRAILKIT1U1NCMAH | VXRAIL-500 A7 READYRAILS II W/CMA 1U1N | 1 |
| TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 |